#### EPA Guideline for the sale of R 12 over 20lbs Section 608

Website http://www.epa.gov/Ozone/title6/608/608fact.html

#### Submit this form : A sample form is available here (4 pp, 141 kb, About PDF).

### Estimated QTY: 5,067 lbs;  Approximately: 1689 lbs per chiller

### Enforcement

EPA is performing random inspections, responding to tips, and pursuing potential cases against violators. Under the Act, EPA is authorized to assess fines of up to $32,500 per day for any violation of these regulations. Information on selected enforcement actions is available in the enforcement section.

#### Refrigerant Sales Restrictions

The sale of ozone-depleting refrigerant (such as R-11, R-12, and R-22) in any size container has been restricted to technicians certified either under the program described in Technician Certification above or under EPA's motor vehicle air conditioning regulations. The sales restriction covers ozone-depleting refrigerant contained in bulk containers, such as cans, cylinders, or drums.

The restriction excludes refrigerant contained in refrigerators or air conditioners with fully assembled refrigerant circuits (such as household refrigerators, window air conditioners, and packaged air conditioners), and HFC refrigerants (such as R-134a and R-410A). In addition, a restriction on the sale of pre-charged split systems has been stayed (suspended) until EPA takes further action.

Under Section 609 of the Clean Air Act, sales of CFC-12 in containers smaller than 20 pounds are restricted solely to technicians certified under EPA's motor vehicle air-conditioning regulations (i.e., Section 609 certified technicians). Technicians certified under EPA's stationary refrigeration and air-conditioning equipment (i.e., Section 608 certified technicians) may buy containers of CFC-12 larger than 20 pounds.

Section 609 technicians are only allowed to purchase refrigerants that are suitable for use in motor vehicle air-conditioners. Effective September 22, 2003, EPA has restricted the sale of ozone-depleting refrigerants, approved for use in stationary refrigeration and air-conditioning equipment, to Section 608 certified technicians. Therefore, the sale of ozone-depleting refrigerants (such as HCFC-22) that are approved for use in stationary equipment but not for use in motor vehicle air-conditioners is restricted to Section 608 certified technicians.

More detailed information is available in an EPA fact sheet titled "The Refrigerant Sales Restriction."

#### Certification by Owners of Refrigerant Recovery and Recycling Equipment

EPA requires that persons servicing, disposing, or recycling air-conditioning and refrigeration equipment certify to the appropriate EPA Regional Office that they have acquired (built, bought, or leased) refrigerant recovery or recycling equipment and that they are complying with the applicable requirements of this rule. This certification must be signed by the owner of the equipment or another responsible officer and sent to the appropriate EPA Regional Office. A sample form for this certification is attached. Although owners of recycling and recovery equipment are required to list the number of trucks based at their shops, they do not need to have a piece of recycling or recovery equipment for every truck. Owners do not have to send in a new form each time they add recycling or recovery equipment to their inventory.

#### Refrigerant Reclaimer Certification

Refrigerant reclaimers are companies that reprocess used refrigerant back to virgin specifications. EPA restricts the resale of used refrigerant to a new owner, unless it has been reclaimed by an EPA-certified refrigerant reclaimer. Reclaimes are required to return refrigerant to the purity level specified in ARI Standard 700 (an industry-set purity standard) and to verify this purity using the laboratory protocol set forth in the same standard. In order to be recognized by EPA, refrigerant reclaimers must certify to the Section 608 Recycling Program Manager at EPA headquarters that they are complying with these requirements and that the information given is true and correct. Certification must also include the name and address of the reclaimer and a list of equipment used to process and to analyze the refrigerant. In addition, a checklist helps prospective reclaimers provide appropriate information for EPA to review.

#### Safe Disposal Requirements

Refrigeration and air-conditioning equipment that is typically dismantled on-site before disposal (e.g., retail food refrigeration, central residential air conditioning, chillers, and industrial process refrigeration) has to have the refrigerant recovered in accordance with EPA's requirements for servicing prior to their disposal. However, equipment that typically enters the waste stream with the charge intact (e.g., motor vehicle air conditioners, household refrigerators and freezers, and room air conditioners) are subject to special safe disposal requirements.

Under these requirements, the final person in the disposal chain (e.g., a scrap metal recycler or landfill owner) is responsible for ensuring that refrigerant is recovered from equipment before the final disposal of the equipment. If the final person in the disposal chain accepts appliances that no longer hold a refrigerant charge, that person is responsible for maintaining a signed statement from whom the appliance/s is being accepted. The signed statement must include the name and address of the person who recovered the refrigerant, and the date that the refrigerant was recovered, or a copy of a contract stating that the refrigerant will be removed prior to delivery. EPA does not mandate a sticker as a form of verification that the refrigerant has been removed prior to disposal of the appliance. Such stickers do not relieve the final disposer of their responsibility to recover any remaining refrigerant in the appliance, unless the sticker consists of a signed statement that includes the name and address of the person who recovered the refrigerant, and the date that the refrigerant was recovered.

Technician certification is not required for individuals removing refrigerant from small appliances, motor vehicle air conditioners, and motor vehicle-like air conditioners, when preparing them for disposal. However, the equipment used to recover refrigerant from appliances prior to their final disposal must meet the same performance standards as refrigerant recovery equipment used prior to servicing, Persons involved in the final disposal of appliances must certify to their EPA Regional Office that they have obtained and are properly using EPA certified refrigerant recovery equiment. A sample form is available here (4 pp, 141 kb, About PDF).

EPA has prepared a brochure on safe disposal procedures for household appliances that use refrigerants.

Top of page

#### Major Recordkeeping Requirements

Technicians

servicing appliances that contain 50 or more pounds of refrigerant must provide the owner with an invoice that indicates the amount of refrigerant added to the appliance. Technicians must also keep a copy of their proof of certification at their place of business.

Owners or Operators

of appliances that contain 50 or more pounds of refrigerant must keep servicing records documenting the date and type of service, as well as the quantity of refrigerant added.

Wholesalers

who sell CFC and HCFC refrigerants must retain invoices that indicate the name of the purchaser, the date of sale, and the quantity of refrigerant purchased.

Reclaimers

must maintain records of the names and addresses of persons sending them material for reclamation and the quantity of material sent to them for reclamation. This information must be maintained on a transactional basis. Within 30 days of the end of the calendar year, reclaimers must report to EPA the total quantity of material sent to them that year for reclamation, the mass of refrigerant reclaimed that year, and the mass of waste products generated that year.

Records Retention

Three years.